## INVOICE
Updated 01/25/2017
[7 empty] | INVOICE #: |  | 0
[7 empty] | INVOICE DATE: |  | 2020-12-02
[7 empty] | SR# |  | PROJECT FORUM
| CUSTOMER: |  |  |  |  | LOCATION:
| VIXXO |  |  |  |  | STORE | SEI/Exxon #40059
[6 empty] | ADDRESS | 13825 Lee Hwy
[6 empty] | CITY,ST,ZIP | Centerville, VA 20121
| ATTN: | PAUL ENCINAS
SCOPE OF WORK |  |  | DESCRIPTION OF WORK:
STP SUMPS, MOTORS, LD'S SENSORS, AND FIBERLITE MANOLES |  |  | REMOVE AND REPLACE TANK TOP STP'S WITH 7-ELEVEN SPEC BRAVO FRP RETROFIT SUMPS, FE PETRO MOTORS, VAPORLESS LD'S, AND FIBERLITE FLUSHMOUNT MANHOLES. REPLACE 18" MANHOLES ON TANK TOP WITH 7-11 SPEC OPW WATERTIGHT MANHOLES DURING EXCAVATION.
UDC'S, CUSTOM STAINLESS STEEL ISLANDS, AND BOLLARDS |  |  | REMOVE AND REPLACE ALL EXISTING DISPENSER SUMPS ) WITH 7-ELEVEN SPEC OPW FRP UDC'S, 3'X9x13" STAINLESS STEEL ISLANDS, AND BOLLARDS ON OUTSIDE OF ISLANDS. * WILL NEED LONG ISLASNDS TO ENCOMPASS CANOPY WRAP/COLUMN.
OPW FLEXWORKS PRODUCT LINES AND 10+1 SHEAR VALVES |  |  | REMOVE AND REPLACE EXISTING PRODUCT LINES WITH OPW FLEXORKS DW PIPING USING 7-11 SPEC DPC COUPLINGS AND INSTALL OPW 10+1 SHEAR VALVES
OPW DOUBLE WALL SPILL BUCKETS |  |  | REMOVE AND REPLACE EXISTING SPILL BUCKETS WITH 7-11 SPEC OPW 3100 DW SHEAR VALVES. (3) FILL, (2) VAPOR
WIRING AND SENSORS |  |  | MAKE REPAIRS TO EXISTING CONDUITS USING ROB ROY AND JUNCTION MANWAY. PULL NEW DISPENSER WIRE, 7-11 CAT 6, STP WIRE, AND SENSOR WIRE. INSTALL SENSORS IN ALL SECONDARY CONTAINMENT AND UPGRADE TLS-350 ACCORDINGLY.
TANKNOLOGY, MISC |  |  | PURGE, CALIBRATE, START UP DISPENSERS. MEET TANKNOLOGY ONSITE TO ENSURE SMOOTH TRANSITION TO OPEN FUEL SALES.
9 - EQUIPMENT / REMOVAL & DISPOSAL / PERMIT FEE |  |  |  |  | MATERIAL | UNIT | SERVICE RATE | SERVICE TOTAL | TOTAL MATERIAL & LABOR
1 | BOBCAT FOR REMOVING DISPENSERS |  |  |  | 0 |  |  | 850 | 850
2 | BREAKER ATTACHMENT |  |  |  | 0 |  |  | 225 | 225
3 | SUPER VAC TRUCK - EXCAVATION |  |  |  | 0 |  |  | 2500 | 2500
4 | 16" CONCRETE SAW W/BLADE |  |  |  | 0 |  |  | 90 | 90
5 | P185 AIR COMPRESSOR |  |  |  | 0 |  |  | 250 | 250
6 | MINI EXCAVATOR |  |  |  | 0 |  |  | 1150 | 1150
7 | WATER TRAILER FOR HYDRO TESTING |  |  |  | 0 |  |  | 225 | 225
8 | CONFINED SPACE BLOWER/HEATER |  |  |  | 0 |  |  | 175 | 175
7 | SITE FENCING - BARRICADES |  |  |  | 0 |  |  | 225 | 225
8 | PERMIT FEE - ELECTRICAL / MECHANICAL |  |  |  | 0 |  |  | 0 | 2000
|  |  |  | Sub Total Material: | 0 | ServiceTotal: |  | 3665
(9)REMOVAL AND DISPOSAL TOTAL: | [8 empty] | 7690
ONSITE LABOR |  |  |  |  | MATERIAL | LABOR HOURS | LABOR RATE | TOTAL LABOR | TOTAL MATERIAL & LABOR
1 | TOTAL ON-SITE LABOR |  |  |  | 0 | 1556 | 70 | 108920 | 90720
2 | SERVICE COMMISSION AND START UP |  |  |  | 0 | 20 | 70 | 1400 | 1400
3 |  |  |  |  | 0 |  |  | 0 | 0
4 |  |  |  |  | 0 |  |  | 0 | 0
5 |  |  |  |  | 0 |  |  |  | 0
6 |  |  |  |  | 0 |  |  | 0 | 0
7 | CONCRETE / REBAR / BACKFILL |  |  |  | 0 |  |  | 0 | 11875
8 | MISC / DISPOSABLES / BARRELS / RAGS / THREAD SEALANT / NITROGEN |  |  |  | 0 |  |  | 0 | 585.18
|  |  |  | Sub Total Material: | 0 |  |  | 110320
104580.18
PARTS, MATERIALS, AND SUPPLIES |  |  |  |  | MATERIAL | UNIT | PRICE | TOTAL | TOTAL MATERIAL & LABOR
1 | TOTAL ELECTRICAL MATERIALS |  |  |  | 14166.6555 |  |  | 0 | 14166.6555
2 | TOTAL PIPING - FERGUSONS SUPPLY |  |  |  | 3502.712 |  |  | 0 | 3502.712
3 | TOTAL ICON MATERIALS |  |  |  | 0 |  |  | 0 | 0
4 | TOTAL SOURCE / PETRO MATERIALS |  |  |  | 425.772 |  |  | 0 | 425.772
5 |  |  |  |  | 0 |  |  | 0 | 0
6 |  |  |  |  | 0 |  |  | 0 | 0
7 |  |  |  |  | 0 |  |  | 0 | 0
8 |  |  |  |  | 0 |  |  | 0 | 0
|  |  | PARTS, MATERIALS, AND SUPPLIES |  | 18095.1395 |  |  | 0
SUB-TOTAL AMOUNT | [8 empty] | 130365.3195
PROFIT AND OVERHEAD | [7 empty] | 4% | 5214.6128
VA SALES TAX | [7 empty] | 5.3% | 959.0424
GRAND TOTAL INVOICE: | [8 empty] | 136538.9747
| Fred W. Dodson III (Trae) |  |  | 2020-12-02
| Construction Manager |  |  | DATE
"YOUR LOGO
HERE"
COST ESTIMATE
225 RITTER RD, WINCHESTER, VA 22602
(540) 869-5033 FAX (540) 869-5406

## MATERIAL AND LABOR BREAKDOWN
| CUSTOMER | VIXXO
| SITE # | SEI/Exxon #40059
| ADDRESS | 13825 Lee Hwy
| CITY, STATE | Centerville, VA 20121
| INVOICE DATE: | 2020-12-02
INVOICE NUMBER:
| PROJECT MANAGER | PAUL ENCINAS
| SR# | PROJECT FORUM
1 | ELECTRICAL SUPPLY - EECO / CAPITAL TRISTATE/HOME DEPOT
| PART # | DESCRIPTION | CURRENT PRICING |  |  |  | Freight | Amount | Sell Price
3/4 INCH GALV AND EXPLOSION PROOF
| BBDX1 | 1LB DUCK SEAL | 4.53 |  | 1.1325 | 5.6625 |  |  | 0
| CBCHICOA19PX | SEAL COMP | 34.89 |  | 8.7225 | 43.6125 |  |  | 0
| CBCHICOA3 | 1LB SEAL COMP - CHICO | 10.48 |  | 2.62 | 13.1 |  | 5 | 65.5
| CBEYS21 | 3/4 FEM COND SEAL - SEAL OFF | 34.64 |  | 8.66 | 43.3 |  | 32 | 1385.6
| CBGUP214 | GUP214 JCT BOX - LARGE J-BOX | 94.73 |  | 23.6825 | 118.4125 |  | 12 | 1420.95
| CBLBY25 | 3/4 90D COND ELL - PULL 90 | 26 |  | 6.5 | 32.5 |  | 28 | 910
| CBOELB2 | 3/4 OELB COND BODY&CVR L-BOX | 62.22 |  | 15.555 | 77.775 |  |  | 0
| CBPLG2 | 3/4 RECES PLUG | 2.35 |  | 0.5875 | 2.9375 |  |  | 0
| CBRE21 | 3/4X1/2 REDUCER BUSHING | 0.536 |  | 0.134 | 0.67 |  | 5 | 3.35
| CBRE32 | 1X3/4 RED | 2.35 |  | 0.5875 | 2.9375 |  | 13 | 38.1875
| CBUNF205 | 3/4 FEM UNION | 26.07 |  | 6.5175 | 32.5875 |  | 12 | 391.05
| CBUNY205 | 3/4 MALE UNION | 28.5 |  | 7.125 | 35.625 |  | 15 | 534.375
| CF3/4GACP | 3/4XCL GALV COND NIPPLE | 1.62 |  | 0.405 | 2.025 |  | 12 | 24.3
| CF3/4X2GANIP | 3/4X2 GALV COND NIPPLE | 1.96 |  | 0.49 | 2.45 |  | 12 | 29.4
| CF3/4X3GANIP | 3/4X3 GALV COND NIPPLE | 2.31 |  | 0.5775 | 2.8875 |  | 12 | 34.65
| CF3/4X4GANIP | 3/4X4 GALV COND NIPPLE | 2.68 |  | 0.67 | 3.35 |  | 12 | 40.2
| CF3/4X5GANIP | 3/4X5 GALV COND NIPPLE | 2.97 |  | 0.7425 | 3.7125 |  | 12 | 44.55
| CF3/4X6GANIP | 3/4X6 GALV COND NIPPLE | 3.32 |  | 0.83 | 4.15 |  | 12 | 49.8
| CF3/4X8GANIP | 3/4X8GALV COND NIPPLE | 4.85 |  | 1.2125 | 6.0625 |  | 12 | 72.75
| CF3/4X10GANIP | 3/4X10 GALV COND NIPPLE | 5.51 |  | 1.3775 | 6.8875 |  | 12 | 82.65
| CF3/4GACP | 3/4" GALV COUPL | 2.147 |  | 0.53675 | 2.6837 |  | 12 | 32.205
| CO3/4GA | 3/4" GALVANIZED CONDUIT | 13.36 |  | 3.34 | 16.7 |  |  | 0
| PV3/4 | 3/4" PVC CONDUIT SCH 40 | 21.93 |  | 5.4825 | 27.4125 |  |  | 0
| ID30071 | SIZE 71B GRY WIRECONN | 6.53 |  | 1.6325 | 8.1625 |  |  | 0
| ID30072 | SIZE 72B BLU WIRECONN | 7.37 |  | 1.8425 | 9.2125 |  |  | 0
| ID30073 | SIZE 73B ORG WIRECONN | 8.52 |  | 2.13 | 10.65 |  |  | 0
| PV3/4 | 3/4" PVC CONDUIT SCH 40 | 21.93 |  | 5.4825 | 27.4125 |  |  | 0
| PV3/4FTA | 3/4" PVC FEMALE ADAPTER | 0.23 |  | 0.0575 | 0.2875 |  |  | 0
| THREADED CONDUIT BUSHING 3/4" | THREADED CONDUIT BUSHING - 3/4 | 0.55 |  | 0.1375 | 0.6875 |  | 32 | 22
| RIGID SWEEP 90 | RIGID SWEEP 90 | 5.91 |  | 1.4775 | 7.3875 |  |  | 0
| PVC COATED CONDUIT | ROB ROY | 54 |  | 13.5 | 67.5 |  | 22 | 1485
| 3/4" FLEXIBLE CONNECTOR ELBOW | 3/4 FLEX CONDUIT CONNECTOR ELBOW 90 | 1.39 |  | 0.3475 | 1.7375 |  |  | 0
| 3/4 INCH ALUMINUM FLEXIBLE COND | FLEXIBLE CONDUIT - 3/4" ALUM -PER FT | 0.9 |  | 0.225 | 1.125 |  |  | 0
EMT 3/4 AND 1 INCH
| 10 FOOT STICK 1" EMT | EMT CONDUIT 10 FOOT - 1 INCH | 14.2 |  | 3.55 | 17.75 |  |  | 0
| 10 FOOT STICK 3/4" EMT | 3/4 INCH 10FT STEEL EMT | 8.2 |  | 2.05 | 10.25 |  |  | 0
| 3/4" BOX CONNECTOR-COMPRESSION | 3/4 EMT COMPRESSION J BOX CONNECTOR | 1.31 |  | 0.3275 | 1.6375 |  |  | 0
| 3/4" COMPRESSION COUPLING | 3/4 EMT COMPRESSION COUPLING | 1.5 |  | 0.375 | 1.875 |  |  | 0
| 3/4" COMP COUPLING - RAIN TIGHT | 3/4" RAIN TIGHT COMPRESSION COUPLING | 1.35 |  | 0.3375 | 1.6875 |  |  | 0
| EMT PULL 90 3/4" | EMT PULL 90 - 3/4 - RAINT TIGHT | 10.73 |  | 2.6825 | 13.4125 |  |  | 0
| EMT 3/4 STRAP | 3/4" STRAP | 0.35 |  | 0.0875 | 0.4375 |  |  | 0
| ORBOF7712 | EMT STEEL SET SCREW COUPLING | 0.21 |  | 0.0525 | 0.2625 |  |  | 0
| SC500SC | 1/4" BEAM CLAMP 20TPI | 0.81 |  | 0.2025 | 1.0125 |  |  | 0
| CF3/4EMTEL | 3/4" EMT ELBOW 90DEG | 2 |  | 0.5 | 2.5 |  |  | 0
| SCBU502 | 3/4" 105D PLASTIC BUSHING | 0.1 |  | 0.025 | 0.125 |  |  | 0
| 3/4" EMT SWEEP 90 | 3/4" SWEEP 90 | 4.57 |  | 1.1425 | 5.7125 |  |  | 0
| 3PC UNION-DIRECT BURY EP | EXPLOSION PROOF ERICKSON | 33.15 |  | 8.2875 | 41.4375 |  | 28 | 1160.25
|  |  | 0 |  | 0 | 0 |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
1 INCH FLEXIBLE / GALVANIZED AND EXPLOSION PROOF
| EYS31 | 1" EXPLOSION PROOF SEAL OFF | 44.66 |  | 11.165 | 55.825 |  |  | 0
| UNF305 | 1" STEEL FEMALE CONDUIT UNION | 49.68 |  | 12.42 | 62.1 |  |  | 0
| 1" BOX CONNECT-FLEXIBLE | 1" BOX CONNECTORS-FLEXIBLE | 2.01 |  | 0.5025 | 2.5125 |  |  | 0
| 1" FLEXIBLE CONDUIT | FLEXIBLE CONDUIT - 1" - 50 FOOT | 92.53 |  | 23.1325 | 115.6625 |  |  | 0
| 1"X6" GALV NIPPLE | 1"X6" GALV NIPPLE | 3.47 |  | 0.8675 | 4.3375 |  |  | 0
| 1"XCLOSE | 1" X CLOSE GALVANIZED NIPPLE | 2.13 |  | 0.5325 | 2.6625 |  |  | 0
| 100GC | 1 " GALV COUPLING | 2.94 |  | 0.735 | 3.675 |  |  | 0
| 1"X2" GALV NIPPLE | 1" X 2" GALVANIZED NIPPLE | 2.62 |  | 0.655 | 3.275 |  |  | 0
| 1"x3" GALV NIPPLE | 1"x3" GALV NIPPLE | 3.25 |  | 0.8125 | 4.0625 |  |  | 0
| RE32 | 1" TO 3/4" REDUCING BUSHING | 5.63 |  | 1.4075 | 7.0375 |  |  | 0
| 1" CONDUIT STRAPS | 1" CONDUIT STRAPS | 0.65 |  | 0.1625 | 0.8125 |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
MISC ELECTRICAL SUPPLIES
| PULL STRING | PULL STRING - CAPITAL ELECTRIC - 2200' | 54.64 |  | 10.928 | 65.568 |  | 1 | 65.568
| SCXC272 | 3/4 D/C SQZ FLEX CONN | 1.99 |  | 0.398 | 2.388 |  |  | 0
| 2" U-BOLTS |  | 3.32 |  | 0.664 | 3.984 |  |  | 0
| 3" UNISTRUT CLAMPS | 3" UNISTRUT CLAMPS FOR SMART SENSORS | 4.41 |  | 0.882 | 5.292 |  |  | 0
| 2" UNISTRUT CLAMPS | 2" UNISTRUT CLAMPS FOR SENSORS | 3.43 |  | 0.686 | 4.116 |  |  | 0
| UNISTRUT PER FOOT |  | 5.25 |  | 1.05 | 6.3 |  |  | 0
| HOASG6X6X4NK | PULL BOX 6X6X4 | 10.93 |  | 2.186 | 13.116 |  |  | 0
| PSF6C - CADDY | 6X4.8" ROOFTOP SYS FIXED STRUT SUPPORT | 20.73 |  | 4.146 | 24.876 |  |  | 0
| RX21H51 | RAINTIGHT DEV BOX 2 GANG 5 HOLE | 10.72 |  | 2.144 | 12.864 |  |  | 0
| AFI CG75K | 3/4IN CORD CONN KIT .125-.880 | 45.31 |  | 9.062 | 54.372 |  |  | 0
| MULB 30283 | WP BLANK CVR | 1.49 |  | 0.298 | 1.788 |  |  | 0
| MULB 30242 | WP ALUM BOX W/LUG | 6.94 |  | 1.388 | 8.328 |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
| CONTINGENCY | CONTINGENCY | 0 |  | 0 | 0 |  | 1 | 500
DISPENSER WIRE
| PART # | DESCRIPTION | CURRENT PRICE |  |  |  |  | Amount | Sell Price
[5 empty] | 0 | 0 |  |  | 0
| CUTHN 12G WIRE - BLACK | 12 GAUGE STRANDED WIRE - BLACK 500 FT | 64.81 |  | 12.962 | 77.772 | 0.1 | 5 | 389.36
| CUTHN 12G WIRE - GREEN | 12 GUAGE STRANDED WIRE - GREEN 500 FT | 64.81 |  | 12.962 | 77.772 | 0.2 | 5 | 389.86
| CUTHN 12G WIRE - WHITE | 12 GUAGE STRANDED WIRE - WHITE 500 FT | 64.81 |  | 12.962 | 77.772 | 0.2 | 5 | 389.86
|  |  | 0 |  | 0 | 0 | 0.2 | 0 | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
Windy City Wire
| PART # | DESCRIPTION | CURRENT PRICE |  |  |  |  | Amount | Sell Price
| 1000' ROLL | 7-11 Approved CAT6 Belden Equivalent- | 1498 |  | 299.6 | 1797.6 |  |  | 0
| 3601218-1P STR TFFN 600V Pur-Ylw | 7-11 Spec 18g Twisted "DATA WIRE" - per ft | 0.18 |  | 0.036 | 0.216 |  | 1425 | 307.8
| WCW7931AFEQ | 7-11 Approved CAT6 Belden Equivalent-per ft | 1.5 |  | 0.04 | 1.54 |  | 1425 | 2194.5
| X-779132-001 | BELDEN 7931A -1 7-11 REQ UNTIL 4/1/20 | 2.812 |  | 0.5624 | 3.3744 |  |  | 0
| WCW88760FEQ | VEEDER ROOT WIRE - BELDEN 88760 EQ | 0.59 |  | 0.118 | 0.708 |  |  | 0
|  | VEEDER ROOT WIRE - BELDEN 88760 EQ | 584.15 |  | 116.83 | 700.98 |  | 3 | 2102.94
| X-806609-001 DATA WIRE 12-14 TPF | TEAS6S-RD-100 - Red / White - ROLL 1000' | 545 |  | 109 | 654 |  |  | 0
| X-806609-002 DATA WIRE 12-14 TPF | TEAS6S-BL-100 - Black / White -ROLL 1000' | 545 |  | 109 | 654 |  |  | 0
| X-832902-016 4 COND INTERCOM | 4 CONDUCTOR BELDEN 9402 EQ INTERCOM | 1009 |  | 201.8 | 1210.8 | 0 |  | 0
| 1 | TOTAL ELECTRICAL MATERIALS | [5 empty] | 3182 | 14166.6555
2 | Fergusons / Plumbing Supply
| PART # | DESCRIPTION | CURRENT PRICING |  |  |  |  | Amount | Sell Price
|  |  | 0 |  | 0 | 0 |  |  | 0
|  | 1 " BLK ML PLUG | 2.09 |  | 0.836 | 2.926 |  |  | 0
1 1/2 INCH - Dispenser Piping
| IBNJCL | 1.5"xCLOSE BLK NIPPLE | 3.58 |  | 0.716 | 4.296 |  | 12 | 51.552
| IBNKM | 1.5"X 3" BLK NIPPLE | 5.6 |  | 1.12 | 6.72 |  |  | 0
|  | 1.5" X 4" BLK NIPPLE | 3 |  | 0.6 | 3.6 |  |  | 0
|  | 1.5" X 4.5" BLK NIPPLE | 4.5 |  | 0.9 | 5.4 |  |  | 0
|  | 1.5" x 5" BLK NIPPLE | 5.89 |  | 1.178 | 7.068 |  |  | 0
|  | 1.5" x 5.5" BLK NIPPLE | 6.81 |  | 1.362 | 8.172 |  |  | 0
|  | 1.5" X 6" BLK NIPPLE | 7.21 |  | 1.442 | 8.652 |  |  | 0
| IB150UJ | 1-1/2" BLK MI 150# - UNION | 20.48 |  | 4.096 | 24.576 |  | 12 | 294.912
| GBPTXA53J | 1-1/2in x 21 ft. Black Steel Pipe | 52 |  | 10.4 | 62.4 |  | 4 | 249.6
|  |  | 0 |  | 0 | 0 |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
| 30205 | OATEY 1 GALLON DARK CUTTING OIL | 45.82 |  | 9.164 | 54.984 |  | 0.5 | 27.492
|  |  | 0 |  | 0 | 0 |  |  | 0
| 2 INCH - STP Piping |  |  |  |  | Total 1.5" piping Dispensers |  |  | 623.556 | 103.926 | Per Dispenser
|  |  | 0 |  | 0 | 0 |  |  | 0
| BCK | 2 BLK MI 150# COUP | 11.06 |  | 2.212 | 13.272 |  | 6 | 79.632
| IBNKL | 2X2-1/2 BLK STL NIP | 0 |  | 0 | 0 |  | 0 | 0
| IBNKCL | 2XCLOSE BLK STL NIP | 4.88 |  | 0.976 | 5.856 |  | 18 | 105.408
| IBNKL | 2X2-1/2 BLK STL NIP | 5.26 |  | 1.052 | 6.312 |  | 12 | 75.744
| IBNKR | 2X4" BLK STL NIPPLE | 6.77 |  | 1.354 | 8.124 |  | 6 | 48.744
| IBBKD | 2X4.5" BLK STL NIPPLE | 7.8 |  | 1.56 | 9.36 |  | 6 | 56.16
| IB4K | 2" 45 ELBOW | 15.14 |  | 3.028 | 18.168 |  | 8 | 145.344
| IB150UK | 2" BLK STL UNION 150# | 30.95 |  | 6.19 | 37.14 |  | 4 | 148.56
| IBTK | 2" BLK STL 150# TEE | 20.52 |  | 4.104 | 24.624 |  | 3 | 73.872
| IB9K | 2" BLK STL 150# 90 ELBOW | 14.26 |  | 2.852 | 17.112 |  | 3 | 51.336
|  |  | 0 |  | 0 | 0 |  |  | 0
| 4 INCH - Spill Buckets - risers - etc |  |  |  |  | Total 2 Inch STP Piping |  |  | 784.8 | 261.6 | PER STP
| IBCP | 4" BLACK STEEL COUPLING 150# | 62.04 |  | 12.408 | 74.448 |  | 3 | 223.344
| IBNP12 | 4" X 12" BLK STL NIPPLE | 42.4 |  | 8.48 | 50.88 |  | 3 | 152.64
|  | 4" X 8" BLK STL NIPPLE | 48.24 |  | 9.648 | 57.888 |  | 2 | 694.656
|  | 4" X 36" BLK STL NIPPLE | 136.24 |  | 27.248 | 163.488 |  | 2 | 326.976
| IBNPP | 4" X 4" | 31.57 |  | 6.314 | 37.884 |  | 3 | 113.652
|  | 4" X 6" | 34.62 |  | 6.924 | 41.544 |  | 2 | 83.088
| CONTINGENCY | CONTINGENCY |  |  | 0 |  |  | 1 | 500
[6 empty] | Total 4 inch |  |  | 2094.356 | 232.7062 | PER RISER (ATG AND SPILL BUCKET)
| 2 | TOTAL PIPING - FERGUSONS SUPPLY | [5 empty] | 0 | 3502.712
3 | ICON |  |  |  | 0 | SHIP | Total Price
| ISR 2.0X2.0A | SPLIT REDUCER | 39.6 | 7.92 | 47.52 |  | 47.52 |  | 0
| IAC IBOND50FS | BONDING AGENT FAST SET | 66.28 | 13.256 | 79.536 |  | 79.536 |  | 0
| IRI 3.5xplug | PLUG | 59.2 | 11.84 | 71.04 |  | 71.04 |  | 0
| IRI 2.4x2.0 | Reducing boot | 35.2 | 7.04 | 42.24 |  | 42.24 |  | 0
| IRF 4 B1.4 | 4 Bolt split repair conduit boot | 140 | 28 | 168 |  | 168 |  | 0
| IRF 4B1.0 | 4 Bolt Slit Conduit Repair Boot small | 140 | 28 | 168 |  | 168 |  | 0
| IRF 8B3.5 | 8Bolt Split Flange Repair Boot | 189.6 | 37.92 | 227.52 |  | 227.52 |  | 0
| IRF 8B2.5OS | 8 Bolt Repair Boot - off set | 189.6 | 37.92 | 227.52 |  | 227.52 |  | 0
| IRF 8B2.5 | 8 bolt repair boot | 189.6 | 37.92 | 227.52 |  | 227.52 |  | 0
| IRF 4B1.4NG | 4 Bolt Angled Conduit Entry Boot | 140 | 28 | 168 |  | 168 |  | 0
| IRF 8B2.0 | 8 BOLT REPAIR BOOT | 213.3 | 42.66 | 255.96 |  | 255.96 |  | 0
| ISR 2.5x2.5A | Split Test Boot | 35.2 | 7.04 | 42.24 |  | 42.24 |  | 0
| IRF 10B4.5U | 10 BOLT ENCAPSULATION | 260.1 | 52.02 | 312.12 |  | 312.12 |  | 0
| IRF TCI-MMC4.5 | TCI VAPOR ENCAPSULATION | 121.5 | 24.3 | 145.8 |  | 145.8 |  | 0
| IRI 4.5X3.7OS | INSERT OFFSET | 56.7 | 11.34 | 68.04 |  | 68.04 |  | 0
| IRI 4.5X2.5OS | INSERT OFFSET | 48.6 | 9.72 | 58.32 |  | 58.32 |  | 0
| IAC FAST FIX XL | FAST FIX PATCH FOR FG CONV | 89.1 | 17.82 | 106.92 |  | 106.92 |  | 0
| IAC FAST FOAM | FAST FOAM | 51.54 | 10.308 | 61.848 |  | 61.848 |  | 0
| IRI 4.5X2.25OS | INSERT OFFSET | 56.7 | 11.34 | 68.04 |  | 68.04 |  | 0
| IAC FASTFUSE | ICON SPLIT REPAIR GLUE | 81 | 16.2 | 97.2 |  | 97.2 |  | 0
| IRI 4.5X2.0 | SPLIT REPAIR INSERT | 48.6 | 9.72 | 58.32 |  | 58.32 |  | 0
| IRI 4.5X2.5 | SPLIT REPAIR INSERT | 48.6 | 9.72 | 58.32 |  | 58.32 |  | 0
| ISR 2.0X2.0 | SPLIT REDUCER | 30.6 | 6.12 | 36.72 |  | 36.72 |  | 0
| IAC PFUSE250 | POLY FUSE - LARGE 250ML | 251.1 | 50.22 | 301.32 |  | 301.32 |  | 0
| IRF RIGID 1.4 | RIGID BONDED KIT | 251.1 | 50.22 | 301.32 |  | 301.32 |  | 0
| IRI 4.5X2.0OS | SPLIT REPAIR OFFSET | 56.7 | 11.34 | 68.04 |  | 68.04 |  | 0
| SIKAFLEX | SIKAFLEX | 12.3 | 2.46 | 14.76 |  | 14.76 |  | 0
| IAC FFOAM50 | FAST FOAM - SMALL CARTRIDGE 50ML | 51.54 | 10.308 | 61.848 |  |  |  | 0
| IAC WETWELD | WATER BLOCKER - EPOXY | 24.54 | 4.908 | 29.448 |  |  |  | 0
| IAC IBOND50FS | BONDING AGENT FAST SET | 48.6 | 9.72 | 58.32 |  |  |  | 0
| IAC IBOND50H2O | BONDING AGENT UNDERWATER | 92.04 | 18.408 | 110.448 |  |  |  | 0
| IAC FASTFILL | FASTFILL RAPID FILLER | 81 | 16.2 | 97.2 |  |  |  | 0
| IAC PFUSE250 | 250ML POLYFUSION CARTRIDGE | 251.1 | 50.22 | 301.32 |  |  |  | 0
| IAC FIBERGUSE | 20 OZ GASKET SEALER KIT | 71.1 | 14.22 | 85.32 |  |  |  | 0
| IAC PS200 | PETRO SEAL FASKET SEALANT | 80.1 | 16.02 | 96.12 |  |  |  | 0
| 3 | TOTAL ICON MATERIALS | [6 empty] | 0
1 | Petro Supply
| PART # | DESCRIPTION | CURRENT PRICE |  |  |  |  | Amount | Sell Price
OPW SPILL BUCKETS. LINERS, AND MANHOLES AND ASSOCIATED PARTS
| 1C-3112D | OPW DW Edge Bucket with Drain (Fill) | 817.46 |  | 163.492 | 980.952 | 31.27 |  | 0
| 1C-3112P | OPW DW Edge Bucket with Plug (Vapor) | 817.46 |  | 163.492 | 980.952 | 31.27 |  | 0
| 202135-KIT | OPW DW EDGE PRIMARY LINER KIT, DRAIN | 584.86 |  | 116.972 | 701.832 |  |  | 0
| 202136-KIT | OPW DW EDGE PRIMARY LINER KIT, PLUG | 584.86 |  | 116.972 | 701.832 |  |  | 0
| 61SALP-1020-EVR | 4" BRASS SWIVEL ADAPTER - FILL | 0 |  | 0 | 0 |  |  | 0
| 61VSA-1020-EVR | 4" BRASS VAPOR ADAPTER | 0 |  | 0 | 0 |  |  | 0
|  | 4" FILL CAP | 0 |  | 0 | 0 |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
| 206121 | FSA - EDGE BUCKET ADAPTER - SHORT | 83.36 |  | 16.672 | 100.032 |  | 2 | 200.064
| 206122 | FSA - EDGE BUCKET ADAPTER - TALL | 110.57 |  | 22.114 | 132.684 |  | 1 | 132.684
| FSA-400S | FACE SEAL ADAPTER - SHORT | 65.31 |  | 13.062 | 78.372 |  |  | 0
| FSA-400 | FACE SEAL ADAPTER - LONG | 65.31 |  | 13.062 | 78.372 |  |  | 0
| 104A-1800WT | 18" MANHOLE - WATERTIGHT | 209.78 |  | 41.956 | 251.736 |  |  | 0
| 104A-1200 | 12" ID CAST IRON MANHOLE | 74.48 |  | 14.896 | 89.376 |  |  | 0
OPW FLEXWORKS
| DPC-2150A | 1.5" DW COUPLING (SWAGE FITTING) | 108.67 |  | 21.734 | 130.404 |  |  | 0
| SBC-2150 | 1.5" DW SWIVEL BOLT ON COUPLING | 172.63 |  | 34.526 | 207.156 |  |  | 0
| TTT-2536 | TEST TUBE TERMINATION KIT - FLEXWORKS | 27.14 |  | 5.428 | 32.568 |  |  | 0
| SMA-1520 | 2" X 1.5" MOTOR ADAPTER | 0 |  | 0 | 0 |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
OPW
| 10P-0152 | 1.5" 10 PLUS DP SHEAR VALVE | 200.91 |  | 40.182 | 241.092 |  |  | 0
| 71SO-410C | DROP TUBE W/OVERFILL VALVE 10 FOOT | 736.5 |  | 147.3 | 883.8 |  |  | 0
| 61JSK-44CB | JACK SCREW KIT IRON BASE | 0 |  | 0 | 0 |  |  | 0
| UNIVERSAL |  |  |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
| 303-1515 | 1.5" Offset - 1.5" | 38.74 |  | 7.748 | 46.488 |  |  | 0
| 303-1520 | 1.5" Offset - 2" | 38.74 |  | 7.748 | 46.488 |  |  | 0
| 303-1525 | 1.5" Offset - 2.5" | 44.08 |  | 8.816 | 52.896 |  |  | 0
| 303-1530 | 1.5" Offset - 3" | 44.08 |  | 8.816 | 52.896 |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
| NOV FIBERGLASS |  |  |  |  | 0
| 22850707 | AM 2" PRIMARY SLEEVE COUPLING | 11.63 |  | 2.326 | 13.956 |  |  | 0
| 22884386 | AM 2" PRIMARY PIPE PER FOOT | 4.25 |  | 0.85 | 5.1 |  |  | 0
| 013030-191-4 | SM 2" PRIMARY ADAPT BELL X MALE NPT | 23.8 |  | 4.76 | 28.56 |  |  | 0
| 012020-180-4 | 2" END CAP | 52.28 |  | 10.456 | 62.736 |  |  | 0
| BRAVO |  |  |  |  | 0
| RF-07-01-U | BRAVO CONDUIT ENTRY FITTING - SPLIT | 131.4 |  | 26.28 | 157.68 |  |  | 0
| RF-100 EPOXY KIT | BRAVO 7OZ EPOXY KIT | 25.52 |  | 5.104 | 30.624 |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
| CU-380 | ENCORE UNIVERSAL CONVERSION FRAM | 677.35 |  | 135.47 | 812.82 |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
| FIBERLITE |  |  |  |  | 0
| FL42BLACK | 42" FIBERLITE COVER ONLY - OLD STYLE | 1179.11 |  | 235.822 | 1414.932 |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
| VEEDER ROOT |  |  |  |  | 0
| VDR-0514100-304 | SEAL PACK | 6.46 |  | 1.292 | 7.752 |  | 12 | 93.024
|  |  | 0 |  | 0 | 0 |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
|  |  | 0 |  | 0 | 0 |  |  | 0
| 4 | TOTAL SOURCE / PETRO MATERIALS | [5 empty] | 12 | 425.772
5 | CONCRETE / REBAR / BACKFILL SHORT LOAD LOCAL $475-575 IN THE CITY $850 | [7 empty] | .
| DATE | DESCRIPTION | CURRENT PRICING |  |  | UNIT | TON | YARD | Sell Price
| CONCRETE DISPOSAL/REMOVAL | CONCRETE DISPOSAL/REMOVAL | 2400 |  |  | 1 |  |  | 2400
|  |  | 0 | [5 empty] | 0
| 4000 PSI CONCRETE/FIBER | CONCRETE | 180 |  |  |  |  | 42 | 7560
| BACKFILL | PEA GRAVEL | 52 |  |  |  | 20 |  | 1040
| (1) TON #3 REBAR | DELIVERED | 875 |  |  |  | 1 |  | 875
|  |  | 0 | [5 empty] | 0
|  |  | 0 | [5 empty] | 0
0
|  |  | 0 | [5 empty] | 0
|  |  | 0 | [5 empty] | 0
| 5 | CONCRETE / REBAR / BACKFILL | [6 empty] | 11875
6 | HOTEL LODGING / PER DIEM
| DATE/TECH | DESCRIPTION | CURRENT PRICING |  |  |  |  | Amount | Sell Price
|  |  | 0 |  |  |  |  | 0 | 0
| PER DIEM |  | 0 |  |  |  |  | 0 | 0
| 6 | TOTAL LODGING AND PER DIEM | [6 empty] | 0
7 | RPS LABOR
| Date | DESCRIPTION | LABOR PER HOUR |  |  |  |  | HOURS | TOTAL
| WEEK 1 |  | 70 |  |  |  |  | 432 | 30240
| WEEK 2 |  | 70 |  |  |  |  | 432 | 30240
| WEEK 3 |  | 70 |  |  |  |  | 432 | 30240
|  |  | 0 |  |  |  |  | 260 | 0
[6 empty] | ` |  |  | 0
0
0
0
| SERVICE TECH'S | WORK |  |  | CONSTRUCTION TECH LABOR |  |  | 1556 | 90720
| START UP SITE |  | 70 |  |  |  |  | 20 | 1400
|  |  | 70 | [5 empty] | 0
|  |  | 70 | [5 empty] | 0
|  |  | 70 | [5 empty] | 0
|  |  | 70 | [5 empty] | 0
|  |  | 70 | [5 empty] | 0
|  |  | 70 | [5 empty] | 0
0
|  |  | SERVICE TECH TOTAL LABOR |  |  |  |  | 20 | 1400
| 7 | TOTAL ON-SITE LABOR | [5 empty] | 1576 | 92120
8 | TRIP CHARGES / MOBILIZATION
| Date | DESCRIPTION | LABOR PER HOUR |  |  |  |  | TRIPS | TOTAL
| MOBILIZATION | WEEK 1 | 100 | [5 empty] | 0
| MOBILIZATION | WEEK 2 | 100 | [5 empty] | 0
| MOBILIZATION | WEEK 3 | 100 | [5 empty] | 0
| MOBILIZATION | WEEK 4 | 100 | [5 empty] | 0
[6 empty] | ` |  |  | 0
0
0
0
0
| SERVICE TECH - START UP - TRIP CHARGES |  |  | CONSTRUCTION TECH TRAVEL |  |  |  | 0 | 0
| TECH TRIP CHARGE |  | 100 |  |  |  |  | 2 | 200
0
0
[6 empty] | ` |  |  | 0
0
0
0
0
0
|  |  | SERVICE TECH TRAVEL CHARGES |  |  |  |  | 0 | 200
| 8 | TOTAL MOBILIZATION FEE | [5 empty] | 2 | 200
9 | EQUIPMENT
| EQUIPMENT | DESCRIPTION | SERVICE RATE |  | DAY | WEEK |  | UNIT | TOTAL
| SKID STEER / FORKS | BOBCAT FOR REMOVING DISPENSERS | 850 |  |  |  |  | 1 | 850
| BREAKER ATTACHMENT | BREAKER ATTACHMENT - EXCAVATION | 225 |  |  |  |  | 1 | 225
| VAC TRUCK | SUPER VAC TRUCK - EXCAVATION | 2500 |  |  |  |  | 1 | 2500
| CONCRETE SAW/DIAMOND BLDE | 16" CONCRETE SAW W/BLADE | 90 |  |  |  |  | 1 | 90
| P185 AIR COMPRESSOR | AIR COMPRESSOR - CONDUIT CLEAR | 250 |  |  |  |  | 1 | 250
| MINI EXCAVATOR | MINI EXCAVATOR | 1150 |  |  |  |  | 1 | 1150
| INTRINSIC SAFE VAC TRAILER | WATER TRAILER FOR HYDRO TESTING | 225 |  |  |  |  | 1 | 225
| INTRINSIC SAFE HEATER BLWR | CONFINED SPACE BLOWER/HEATER | 175 |  |  |  |  | 1 | 175
| SITE FENCING | SITE FENCING - BARRICADES | 225 |  |  |  |  | 1 | 225
| PERMIT FEE | PERMIT FEE - ELECTRICAL / MECHANICAL | 2000 |  |  |  |  | 1 | 2000
| 9 | TOTAL EQUIPMENT | [6 empty] | 7690
10 | RPS STANDARD PARTS AND MISC COSTS / DISPOSABLES / DOT BARRELS | [7 empty] | .
| PART # | DESCRIPTION | CURRENT PRICING |  |  |  |  | Amount | Sell Price
| DOT DRUMS | DOT BARRELS - CLEAN SUMPS/TEST WATER | 31.03 |  |  |  |  | 6 | 186.18
| DISPOSABLES | BLADES/RAGS/GLOVES/SELANT/CUTTING OIL | 13.3 |  |  |  |  | 30 | 399
0
0
0
0
0
0
0
0
| 10 | TOTAL MISC & DISPOSABLES | [6 empty] | 585.18
[7 empty] | GRAND TOTAL: |  | 130565.3195
130565.3195
Note on C7: GET INVOICE NUMBER FROM PEACHTREE

## Source List
7 ELEVEN # 20412 | Haymarket, VA
SCOPE OF WORK | DESCRIPTION OF WORK:
OPW FLEXWORKS PRODUCT LINES AND 10+1 SHEAR VALVES | REMOVE AND REPLACE EXISTING PRODUCT LINES WITH OPW FLEXORKS DW PIPING USING 7-11 SPEC DPC COUPLINGS AND INSTALL OPW 10+1 SHEAR VALVES
ENTRY FITTINGS | REMOVE AND REPLACE EXISTING UDC AND STP ENTRY FITTINGS WITH BRAVO/ICON SEI SPEC ENTRY BOOTS. HYDRO TEST ALL WORK PRIOR TO START UP FOR VERIFICATION.
TANKNOLOGY / MISC | PURGE, CALIBRATE, START UP DISPENSERS. MEET TANKNOLOGY ONSITE TO ENSURE SMOOTH TRANSITION TO OPEN FUEL SALES.
** ALL PARTS NUMBERS ARE SUGGESTIONS AND SHOULD ALWAYS DEFAULT TO SEI SPECS
OPW | DESCRIPTION | Units
C15A-250 | 1-1/2" Double Wall Primary Pipe. | 2
DPC-2150A | 1-1/2" Double Wall "Swage" swivel coupling | 24
SEF-1515 | 1-1/2" Elbow NPT Flexworks | 4
STF-1515 | 1-1/2" Junction Tee Fitting - Flexworks | 8
TCT-2509 | Test Jumper For Double Wall Coupling (Dpc Series) 9 inch | 8
TTT-2536 | Test Tube Termination Kit For Double Wall Coupling(Dpc Series) | 4
SMA-1520 | Male Adapter Fittings - Motor Adapter (STP) - 1-1/2"M x 2"M Flex works | 4
OPW-10P-0152 | 10+1-1/2 Inch Double Poppet Emergency Shear Valve | 12
21BV-0200 | 2" Ball Valve | 4
NOV
50210101 | PSX-20 AMERON GLUE KITS | 3
2" Smith NPT | 2" BELL X CAP | 6
Gilbarco
M00703B002 | U-BOLT ENCORE
ICON ENTRY FITTINGS
RECEIVED AT RPS

## Total Receipts
TOTAL RECEIPTS FOR PROJECT